Fire and Evacuation Plan

For Low Occupancy Buildings

Mackay & Sons

9 Cerium St, Narangba QLD 4504

| # Building Information |  |
| --- | --- |
| Building Name: | Mackay & Sons |
| Address: | 9 Cerium St, Narangba |
| Building Owner: | Mackay & Sons Property Holding |
| Address: | 9 Cerium St, Narangba |
| Phone Number: | (07) 3888 9399 |
| Email : | reception@houseremovals.com.au |
| Building Occupier: | Mackay & Sons & Mackay & Sons Demolition |
| Address: | 9 Cerium St, Narangba |
| Phone Number: | (07) 3888 9399 |
| Email: | reception@houseremovals.com.au |

# Persons responsible for administering the Building’s Fire and Evacuation Plan

Kristy Walsh – Office Manager

| # Person responsible for giving General & First Response Evacuation Instruction |  |  |
| --- | --- | --- |
|  | Fire and Evacuation Instructors | Date of Instruction |
| Name: | Kristy Walsh | 16/07/2018 |
| Phone Number: | 3888 9399 |  |
| Email: | kristy@housremovals.com.au |  |

| # Fire & Evacuation Plan Annual Review |  |  |
| --- | --- | --- |
| Date of Review | Reviewed by | Changes made? |
| 16/07/18 | Kristy Walsh | No |

| # Evacuation Coordination Procedures |  |
| --- | --- |
| Commencement Date: | 16/07/2018 |
| Procedure | If fire discovered evacuate persons from premises and ensure no one enters building |
| Procedure for contacting fire service | Ring 000 |
| Persons with special needs | Ensure everyone is out of the building |

# Emergency Evacuation Procedure

In the event of fire, or hazardous material emergency, occupants should evacuate the building and gather at a predetermined assembly area.

# Method of operation of firefighting equipment and manually operated fire alarms

Fire Extinguishers

- Select appropriate extinguisher for type of fire.

- Pull pin from squeeze handle.

- Test extinguisher by squeezing handles briefly.

- Approach fire aiming nozzle at base of fire.

- Squeeze handles and operate extinguisher in a sweeping motion.

Hose Reels

- Hose reels are used on fires involving wood, paper and textiles only, they are not to be used on live electrical appliances or flammable liquids.

- To release the hose reel, turn the valve on this will charge the hose and release the nozzle (if fitted with a nozzle release lock).

- The hose can then be pulled out to the fire, the nozzle operates like a garden hose in most cases by twisting the nozzle, and the nozzle can be adjusted to give a spray pattern or a straight jet.

# Procedures for giving fire and evacuation instructions

EVACUATION PROCEDURES

Upon hearing the alarm or when directed by a warden -

- Prepare to evacuate.

- Get your workplace ready to be left unattended. Shut down computers; turn off gas and electrical equipment, if safe to do so.

- For fire, close the doors as you go – do not lock them. In the case of a bomb threat, leave doors open.

- Assist any person in immediate danger.

- Leave the building via the nearest safe route.

- Obey all directions from wardens.

- Move calmly to the assembly point or other advised area and stay there until the All Clear has been given.

- Follow closely the instructions of emergency services personnel and campus wardens.

- Wait for the OK to re-enter the building.

FIRE

- Ring 0 000 and provide details of the fire then ring security on 400.

- Assist any person in immediate danger (only if safe to do so).

- If safe to do so, close doors to minimise spread of the fire.

- Attack the fire only if safe to do so.

- Contact nearest warden and follow their directions.

- Assist with the evacuation of mobility impaired occupants.

- Move to the nominated evacuation assembly point, and stay there until the All Clear has been given.

- Follow closely the instructions of emergency services personnel and campus wardens.

# Relevant ‘Building Approval’ Documents

Fire Installation :- CO2 Extinguisher

Additional Information to assist you in completing this Section: What approval documents does QFES require? For buildings built under the Deemed to Satisfy Provisions of the BCA from 1 July 1997 onwards, QFES requires the following:- - Certificate of Classification; and - A list of fire safety installations within the building. For buildings built with Alternative Solutions from 1 July 1997 onwards: QFES requires the following:- - Certificate of Classification; - A list of fire safety installations within the building; and - The Fire Safety Management Procedures (Management in Use Documentation) if the building was built using an alternative solution. - Fire Engineering Report For buildings built prior to 1 July 1997, QFES requires the following:- - Certificate of Classification or Certificate of Approval (If either of these are not available QFES will accept written documentation showing requests for copies of relevant approval documents from the relevant local government or building certifier); and - A list of fire safety installations within the building. For Crown buildings QFES requires the following:- - A list of fire safety installations within the building; and - The Fire Safety Management Procedures (Management in Use Documentation) if the building was built using an alternative solution. Displaying Certificate of Classification Buildings built after 1 July 1997 are required to display the Certificate of Classification for the building in a conspicuous place in the building.

# Evacuation Sign and Diagram